OPC Foundation Client-Server Solution
This document contains the I+D technical details of the MVC solution that integrates Hangfire and OPC Foundation

Doc. Version	Date	Author	Description
1.0	2025-10-17	https://github.com/kraftcoding	First version of the release

# Requirements
The next table shows the requirements for the solution described.
Requirement	Description
RQ-001 | MVC application with Hangfire	MVC application integrating Hangfire (including a console and Windows Server project for Hangfire.
RQ-002 | OPC Foundation client-server and DB model layer	Custom client-server OPC libraries and jobs, as well as the model and database access.
RQ-003 | OPC Foundation core	Projects with the source code containing the SDK & Stack of OPC Foundation.

# Overview
This document contains the technical details of the MVC application that integrates Hangfire 1.8.21 and OPC Foundation, running on IIS/SQL Server.
Solutions:
- Hangfire-OPC-Labs_.NET-4.8: Contains the MVC application with Hangfire (including a console and Windows Server project for Hangfire).
- OPC-Foundation-Labs-Server-Client-.Net-4.8: Containing the projects that make up the custom client-server OPC libraries and jobs, as well as the model and database access.
- OPC-Foundation-Labs-.Net-4.8: The OPC Foundation projects and core code (SDK & Stack).
The next image shows solution hierarchy and management relation.

The application provides the next capabilities:
- Start/stop a background job that runs an OPC server, where an XML configuration file tells it which nodes it should manage.
- Start/stop a background job that runs an OPC client (connecting to the server), where an XML configuration file tells it which nodes it should subscribe to in a monitored manner. As soon as it is notified of a change from the server, it dumps the new values ​​for those nodes into the database on the server (with an "idProcess" flag).
- Add a recurring job that executes an OPC client (connecting to the server) where an XML configuration file indicates the server nodes to which it should write values.
- Add a recurring job that executes an OPC client (connecting to the server) where an XML configuration file indicates the server nodes from which it should read values.
- View logs in real time using a text buffer.
NOTE: The XML configuration file used for jobs is the OPC one.
This latest version of the Hangfire server includes:
- Cancellation Tokens to stop jobs in the background.
- All jobs are implemented using the chain of responsibility pattern and can be intercepted using action filters
Basically, the solution creates four jobs:

- First, two BackgroundJob jobs: one for the OPC server (ServerJob) and the other for the client for monitored subscriptions (SubscribeNodesClientJob).
- Then, it creates two more RecurringJob jobs: one to simulate the infrastructure with random values ​​(NodeWriteClientJob) and the other to read the values ​​directly without subscriptions (NodeReadClientJob).
Here the diagram with the solution architecture overvie.

OPC UA (Open Platform Communications Unified Architecture) is a cross-platform, machine-to-machine communication protocol for industrial automation that enables secure and reliable data exchange between different systems. It acts as a "universal translator" for devices and software, using a client-server architecture and built-in security to transfer data from factory floor machinery to higher-level systems like SCADA and ERP.
Key features
Platform-independent: OPC UA works across various operating systems, including Windows, Linux, and Android.
- Secure by design: It has built-in security features like data encryption, authentication, and access control, which are a major improvement over its predecessor.
- Client-server model: It uses a client-server architecture where clients can request data directly or subscribe to receive updates when specific conditions are met.
- Scalable and flexible: The protocol is scalable, meaning it can handle anything from simple status data to complex, plant-wide information, and is flexible enough to connect different systems.
- Open standard: Developed by the OPC Foundation, it is based on the international standard IEC62541, making it an open and vendor-neutral technology.
How it's used
- Interoperability: It connects diverse systems, such as PLCs, SCADA, MES, and ERP systems, allowing them to communicate and share data seamlessly.
- Data exchange: It facilitates communication from the control level of a factory all the way up to enterprise-level management systems.
- Real-time monitoring: It provides real-time and historical data access, which is critical for process control, monitoring, and troubleshooting in various industries like manufacturing and renewable energy.
- Device-to-device communication: It enables machine-to-machine communication, making it a core technology for the Industrial Internet of Things (IIoT).
## Clean Architecture
Clean Architecture is an architecture pattern that is based on four layers: presentation, application, domain, and infrastructure. The presentation layer is responsible for handling user interactions, the application layer is responsible for handling the business logic, the domain layer is responsible for defining the business entities and their relationships, and the infrastructure layer is responsible for handling external concerns such as databases and web services.
Here the solution structure (Visual Studio 2022):

The key principles of Clean Architecture include the independence of the layers, the data flow from the outer layers to the inner layers, and the ability to swap out dependencies without affecting the rest of the system. Clean Architecture emphasizes the separation of concerns to make the codebase easier to maintain, test, and extend.
The project structure of Clean Architecture follows a structured layout that enables code reusability and testability. In the project structure, you would typically have a project for the presentation layer, a project for the application layer, a project for the domain layer, a project for the infrastructure layer, and a project for the tests. Each layer would have its own set of interfaces and implementations, with the application layer acting as the bridge between the other layers.
# Scope
Hangfire is an open-source library for .NET applications that facilitates the execution of background jobs. It allows you to schedule jobs to run at a specific time, recurringly, or immediately, all without the need for external services, and with an administration panel to monitor their status.
OPC technologies are created to allow information to be easily and securely exchanged between diverse platforms from multiple vendors and to allow seamless integration of those platforms without costly, time-consuming software development. This frees engineering resources to do the more important work of running your business.
Using the MVC application, it is possible to provide a web-accessible UI for managing OPC jobs and viewing logs.
# RQ-01 | MVC Hangfire Management Application
This solution contains a standard .NET 4.8 MVC project by which the Hangfire server	is managed. It includes two projects, a console application for tests and a windows service project.

Here the screens of the application:

# RQ-02 | OPC Foundation Client-Server and DB Model Layer
This solution contains a standard .NET 4.7.2 projects regarding the client-server layer to interact with OPC Foundation together with the database and model projects to store data.
The solution is divided in the next modules or assemblies:
- Client-server layer
  - DB.ModelLib  Database interaction context (EntityFramework)
  - Hangfire.OPC.Configuration  Hangfire default Job configuration
  - Hangfire.OPC.JobLib  Job definitions managed by the Hangfire process
  - OPCFoundation.ClientLib  Opc client procedures and clases to interact with the SDK / Stack
  - OPCFoundation.ServerLib  Opc server procedures and clases to interact with the SDK / Stack
  - OPCFoundation.TaskLib  Tasks managed by the jobs
- Database and model
  - Model.GenericUAServer  GenericUAServer DB model to store the Job process and related data
Note: Hangfire tables are created automatically
  - SQL.GenericUAServer Database to store node data

The OPC nodes are defined like this.

# RQ-03 | OPC Foundation Core
This solution contains a standard .NET 4.5.1 projects with the fundamental source code of OPC Foundation.
Contains the SDK and Stack, as we can see in the next image.

# Deployment
To deploy the solution first launch the compare schema.

Then publish the MVC application.

It is needed to give permissions to the IIS app-pool process to use TCP.
- netsh http add urlacl url=http://+:62543/ user=Everyone
- netsh http add urlacl url=http://+:62543/LocalServer/ user=IIS APPPOOL\HangfireJobs
IIS and app-pool configuration should be like this.

Application Pool Set "Preload Enabled". To set the application pool to "Preload Enabled" in IIS, follow these steps:
- Open the applicationHost.config file located in the %WINDIR%\system32\inetsrv\config\applicationHost.config directory.
- Locate the application pool setting and set preloadEnabled to true.
- Restart IIS to apply the changes.
- Optionally, configure warm-up requests to ensure all necessary components are loaded during the initialization phase.
This configuration allows IIS to send a "fake" request to the application when the associated application pool starts up, ensuring that the application is warmed up before any real traffic is received. This is particularly useful for applications with heavy startup processes, such as those requiring multiple service initializations or database connections.

# Software life cycle management
TO DO.

# Annexes
## Improvements and performance
### Hangfire application always running on IIS
Look up if there is any way to ensure that Hangfire application is always running on IIS.
This next article contains a detailed explanation about related topics:
How to Make Sure Your ASP.NET Core Keep Running on IIS - ASP.NET Hosting Tips & Guides
### Jobs chain of responsibility pattern
Must be look up if further integration could be attained between the OPC Jobs and Hangfire chain of responsibility patterns.
## Additional tools used for testing
### UaExpert
For initial steps of development and testing UaExpert client application was used.